| COMPANY / SITE: |  |  |
| --- | --- | --- |
| AUDITOR: | TIME: | DATE: |

SECTION 5 – CHEMICAL									   / x

| - A master list of all chemicals, solvents and lubricants is in place |  |
| --- | --- |
| - Material Safety Data Sheets (MSDS) are available where materials are being used |  |
| - Material Safety Data Sheets (MSDS) are up to date |  |
| - Appropriate safety containers are being used for chemical and solvent handling |  |
| - All containers are clearly labeled with the appropriate content (including trial materials) |  |
| - Man-showers and eye baths are in place in chemical and solvent areas |  |
| - The emergency spill kit content is clearly identified and of sufficient quantities |  |
| - The emergency spill kit content is regularly checked |  |
| - Combustible materials are stored away from electrical equipment and ignition sources |  |
| Comments: |  |

SECTION 6 – ELECTRO-MECHANICAL

| - Every electrical device is switched off if not in use |  |
| --- | --- |
| - All electrical cabinets are locked when not being worked on |  |
| - Using improper or unauthorized electrical appliances is prohibited in the facility |  |
| - Electrical plugs and wires are in good condition |  |
| - Electrical plugs and wires are inspected for possible damage regularly |  |
| - Power sources are disconnected before servicing any machinery that is in motion |  |
| - Equipment guards are in place |  |
| - Equipment guards must prevent all access to moving parts |  |
| - Equipment guards are secured by a method requiring a tool to remove it |  |
| - The facility uses an effective LOTO system during service or maintenance activities |  |
| Comments: |  |

SECTION 7 – ENVIRONMENTAL

| - Waste is segregated or recycled where possible |  |
| --- | --- |
| - Waste containers are kept closed and secured except when waste is added or removed |  |
| - Efforts are being made to reduce wastage (a waste management plan is in place) |  |
| - Efforts are being made to reduce energy |  |
| - Efforts are being made to reduce water consumption |  |
| - Air emission controls are in place |  |
| - Water effluent controls are in place |  |
| - Air quality inside the facility is measured and monitored regularly |  |
| - Noise level is measured and monitored regularly |  |
| Comments: |  |

SECTION 8 – MORE STANDARDS

| - Ladders are in good condition and used properly |  |
| --- | --- |
| - Ladders are inspected regularly |  |
| - Ladders are properly secured using a locked chain to prevent unauthorized use |  |
| - Ladders are only used by authorized and trained personnel |  |
| - Permit to work is applied for all work at height |  |
| - Permit to work is applied for all work within confined spaces |  |
| - Safety alerts and route signs are in place when working on fragile roofs |  |
| - Safety walkways for pedestrians are identified |  |
| - Handrails are in place on slippery floors or at heights |  |
| - Signage, hazard warnings and safety instructions are in place at the point of need |  |
| - Visual management maps are used to monitor areas of highly unsafe cases and high risks |  |
| - Cranes and forklifts are only operated by authorized and licensed drivers |  |
| Comments: |  |